Extraction of metabolites from muscle tissue for LC-MS analysis

Protocol based on: Pesko et al., 2020, Postmortomics: the potential of untargeted metabolomics to highlight markers for time since death. Afterwards merged with the protocol for extraction of metabolites from brain tissue.

Chemicals:
80% MeOH:H20 (80:20 v/v) 
H2O, 5%Acetonitrile, 0.1% Formic acid
Dry ice

Protocol: Keep on ice throughout the procedure

- Frozen tissue (maintained at -80°C) are thawed on ice.

- Weigh muscle tissue in the 2 mL lysing tubes containing metal beads (for hard tissue).

- Add 1 mL ice-cold 80% methanol.

- Homogenize the samples using a Precellys Evolution tissue homogenizer + cooling: program for hard tissue, 30s mix, 30s pause and 30s mix – program #I.

- Incubate in refrigerator at 4°C for 30 min.

- Centrifuge the samples (15 min, 10G).

- Collect supernatants in EP tube and place on ice.

- Add 1mL ice-cold 80% methanol to the pellet.

- Homogenize the samples using a Precellys Evolution tissue homogenizer: program for hard tissue.

- Incubate on ice for 30 min

- Centrifuge the samples (15 min, 10G).

- Collect and pool supernatants.

- Centrifuge the samples (10 min, 10G), transfer supernatant to speedvac tubes.

- Evaporate the supernatants using SpeedVac Vacuum Concentrators (40C).

- Re-suspended the samples in 100 uL water+ 5% Acn + 0.1% formic acid /7 mg tissue for positive (5uL injection). 100 uL water+ 5% Acn + 0.1% formic acid /3.5 mg tissue for negative (5uL injection). Check the intensity and dilute if necessary.